## SRb values
SRb Values in µm for the following files. Format: e.g. 103.45
Filename/Phantom orientation |  | Resolution
Double Duplex.DCM/Vertical | Datos - User1 |  | Datos - User2 | Datos - User3 | Vista-U1 | Vista-U2 | Vista-U3 | Insight-U1 | Insight-U2 | Insight-U3 | Description of steps needed to do ONE measurement:
Meas1 | [10 empty] | e.g. for Datos Tool:
Meas2 | [10 empty] | 1. in ImageJ, cut out the phantom portion
Meas3 | [10 empty] | 2. pass the image to the tool
Meas4 | [10 empty] | 3. pass the pixelsize to the tool
Meas5 | [10 empty] | 4. execute
5. Read the value from the screen
Double Duplex.DCM/Horizontal | Datos - User1 |  | Datos - User2 | Datos - User3 | Vista-U1 | Vista-U2 | Vista-U3 | Insight-U1 | Insight-U2 | Insight-U3
Meas1
Meas2 | [10 empty] | Comments, e.g. on pixelsize used, Thickness, …
Meas3 | [10 empty] | pixelsize:
Meas4 | [10 empty] | Thickness:
Meas5
Duplex Plate 2.tif/Hor | Datos - Jalaj |  | Datos - User2 | Datos - User3 | Vista-U1 | Vista-U2 | Vista-U3 | Insight-U1 | Insight-U2 | Insight-U3
Meas1 | 147166 | 757x356
Meas2 | 148815 | 608x204
Meas3 | 154360 | 824x404
Meas4 | 142977 | 610x186
Meas5 | 143616 | 594x168
CRTestPhantom2.dcm/Hor | Datos - User1 |  | Datos - User2 | Datos - User3 | Vista-U1 | Vista-U2 | Vista-U3 | Insight-U1 | Insight-U2 | Insight-U3
Meas1
Meas2
Meas3
Meas4
Meas5
CRPhantom7.DCM/Hor | Datos - User1 |  | Datos - User2 | Datos - User3 | Vista-U1 | Vista-U2 | Vista-U3 | Insight-U1 | Insight-U2 | Insight-U3
Meas1
Meas2
Meas3
Meas4
Meas5